SECTION 088000 - GLAZING

1. GENERAL
   * + 1. M.S.U. ISSUES
          1. Fire doors shall have wired safety glass. All other doors shall have tempered safety glass. Side lites and other areas requiring safety glass may be laminated safety glass.
          2. Exterior windows shall be glazed with hermetically sealed glazing units with a minimum thickness of 1 inch. Vinyl or PVC edge seals are not acceptable. The exterior face of the interior glass shall have a low E coating, and the exterior glass shall be tinted with either of two industry standard colors; bronze with the sash is bronze-anodized aluminum, and gray when the sash is clear anodized aluminum.
          3. Glazed exterior doors that enclose a vestibule entrance shall be glazed with tempered glass rather than sealed glazing units required for other exterior glazing.
       2. SUMMARY
          1. This Section includes glazing for the following products and applications, including those specified in other Sections where glazing requirements are specified by reference to this Section:

Windows.

Doors.

Glazed curtain walls.

Glazed entrances.

Interior borrowed lites.

Storefront framing.

* + - 1. DEFINITIONS
         1. Manufacturers of Glass Products: Firms that produce primary glass, fabricated glass, or both, as defined in referenced glazing publications.
         2. Glass Thicknesses: Indicated by thickness designations in millimeters according to ASTM C 1036.
         3. Interspace: Space between lites of an insulating-glass unit that contains dehydrated air or a specified gas.
         4. Deterioration of Coated Glass: Defects developed from normal use that are attributed to the manufacturing process and not to causes other than glass breakage and practices for maintaining and cleaning coated glass contrary to manufacturer's written instructions. Defects include peeling, cracking, and other indications of deterioration in metallic coating.
         5. Deterioration of Insulating Glass: Failure of hermetic seal under normal use that is attributed to the manufacturing process and not to causes other than glass breakage and practices for maintaining and cleaning insulating glass contrary to manufacturer's written instructions. Evidence of failure is the obstruction of vision by dust, moisture, or film on interior surfaces of glass.
         6. Deterioration of Laminated Glass: Defects developed from normal use that are attributed to the manufacturing process and not to causes other than glass breakage and practices for maintaining and cleaning laminated glass contrary to manufacturer's written instructions. Defects include edge separation, delamination materially obstructing vision through glass, and blemishes exceeding those allowed by referenced laminated-glass standard.
      2. PERFORMANCE REQUIREMENTS
         1. General: Provide glazing systems capable of withstanding normal thermal movement and wind and impact loads (where applicable) without failure, including loss or glass breakage attributable to the following: defective manufacture, fabrication, and installation; failure of sealants or gaskets to remain watertight and airtight; deterioration of glazing materials; or other defects in construction.

Maximum Lateral Deflection: For the following types of glass supported on all 4 edges, provide thickness required that limits center deflection at design wind pressure to 1/50 times the short side length or 1 inch, whichever is less.

For monolithic-glass lites heat-treated to resist wind loads.

For insulating glass.

For laminated-glass lites.

Minimum Glass Thickness for Exterior Lites: Not less than 6.0 mm.

* + - * 1. Thermal Movements: Provide glazing that allows for thermal movements resulting from the following maximum change (range) in ambient and surface temperatures acting on glass framing members and glazing components. Base engineering calculation on surface temperatures of materials due to both solar heat gain and nighttime-sky heat loss.

Temperature Change (Range): 120 deg F, ambient; 180 deg F, material surfaces.

* + - * 1. Thermal and Optical Performance Properties: Provide glass with performance properties specified based on manufacturer's published test data, as determined according to procedures indicated below:

For insulating-glass units, properties are based on units with lites 6.0 mm thick and a nominal 1/2-inch- wide interspace.

Center-of-Glass Values: Based on using LBL-44789 WINDOW 5.0 computer program for the following methodologies:

U-Factors: NFRC 100 expressed as Btu/ sq. ft. x h x deg F.

Solar Heat Gain Coefficient: NFRC 200.

Solar Optical Properties: NFRC 300.

* + - 1. SUBMITTALS
         1. Product Data: For each glass product and glazing material indicated.
         2. Samples: For the following products, in the form of 12-inch- square Samples for glass and of 12-inch- long Samples for sealants. Install sealant Samples between two strips of material representative in color of the adjoining framing system.
         3. Samples: For the following products, in the form of 12-inch- square Samples for glass.

Each color of tinted float glass.

Each type of patterned glass.

Wired glass.

Insulating glass for each designation indicated.

For each color (except black) of exposed glazing sealant indicated.

* + - * 1. Glazing Schedule: Use same designations indicated on Drawings for glazed openings in preparing a schedule listing glass types and thicknesses for each size opening and location.
        2. Product Certificates: Signed by manufacturers of glass and glazing products certifying that products furnished comply with requirements.

For solar-control low-e-coated glass, provide documentation demonstrating that manufacturer of coated glass is certified by coating manufacturer.

* + - * 1. Qualification Data: For installers.
        2. Preconstruction Adhesion and Compatibility Test Report: From glazing sealant manufacturer indicating glazing sealants were tested for adhesion to glass and glazing channel substrates and for compatibility with glass and other glazing materials.
        3. Product Test Reports: For each of the following types of glazing products:

Tinted float glass.

Coated float glass.

Insulating glass.

Glazing sealants.

Glazing gaskets.

* + - * 1. Warranties: Special warranties specified in this Section.
      1. QUALITY ASSURANCE
         1. Installer Qualifications: An experienced installer who has completed glazing similar in material, design, and extent to that indicated for this Project; whose work has resulted in glass installations with a record of successful in-service performance.
         2. Source Limitations for Glass: Obtain insulating glass through one source from a single manufacturer for each glass type:
         3. Source Limitations for Glass Sputter-Coated with Solar-Control Low-E Coatings: Where solar-control low-e coatings of a primary glass manufacturer that has established a certified fabricator program is specified, obtain sputter-coated solar-control low-e-coated glass in fabricated units from a manufacturer that is certified by coated-glass manufacturer.
         4. Source Limitations for Glazing Accessories: Obtain glazing accessories through one source from a single manufacturer for each product and installation method indicated.
         5. Glass Product Testing: Obtain glass test results for product test reports in "Submittals" Article from a qualified testing agency based on testing glass products.

Glass Testing Agency Qualifications: An independent testing agency with the experience and capability to conduct the testing indicated, as documented according to ASTM E 548.

* + - * 1. Glazing for Fire-Rated Door Assemblies: Glazing for assemblies that comply with NFPA 80 and that are listed and labeled by a testing and inspecting agency acceptable to authorities having jurisdiction, for fire-protection ratings indicated, based on testing according to NFPA 252.
        2. Glazing for Fire-Rated Window Assemblies: Glazing for assemblies that comply with NFPA 80 and that are listed and labeled by a testing and inspecting agency acceptable to authorities having jurisdiction, for fire ratings indicated, based on testing according to NFPA 257.

.

* + - * 1. Safety Glazing Products: Comply with testing requirements in 16 CFR 1201, and, for wired glass, ANSI Z97.1.
        2. Insulating-Glass Certification Program: Permanently marked either on spacers or on at least one component lite of units with appropriate certification label of the following testing and inspecting agency:

Insulating Glass Certification Council.

Associated Laboratories, Inc.

* + - * 1. Mockups: On request, build mockups to verify selections made under sample submittals and to demonstrate aesthetic effects and set quality standards for materials and execution.
        2. Preinstallation Conference: Conduct conference at Project site to comply with requirements in Division 1 Section "Project Management and Coordination."
      1. DELIVERY, STORAGE, AND HANDLING
         1. Protect glazing materials according to manufacturer's written instructions and as needed to prevent damage to glass and glazing materials from condensation, temperature changes, direct exposure to sun, or other causes.
         2. For insulating-glass units that will be exposed to substantial altitude changes, comply with insulating-glass manufacturer's written recommendations for venting and sealing to avoid hermetic seal ruptures.
      2. PROJECT CONDITIONS
         1. Environmental Limitations: Do not proceed with glazing when ambient and substrate temperature conditions are outside limits permitted by glazing material manufacturers and when glazing channel substrates are wet from rain, frost, condensation, or other causes.
      3. WARRANTY
         1. Manufacturer's Special Warranty for Coated-Glass Products: Manufacturer's standard form, made out to Owner and signed by coated-glass manufacturer agreeing to replace coated-glass units that deteriorate as defined in "Definitions" Article, f.o.b. the nearest shipping point to Project site, within specified warranty period indicated below.

Warranty Period: 10 years from date of Substantial Completion.

* + - * 1. Manufacturer's Special Warranty on Laminated Glass: Manufacturer's standard form, made out to Owner and signed by laminated-glass manufacturer agreeing to replace laminated-glass units that deteriorate as defined in "Definitions" Article, f.o.b. the nearest shipping point to Project site, within specified warranty period indicated below.

Warranty Period: Five years from date of Substantial Completion.

* + - * 1. Manufacturer's Special Warranty on Insulating Glass: Manufacturer's standard form, made out to Owner and signed by insulating-glass manufacturer agreeing to replace insulating-glass units that deteriorate as defined in "Definitions" Article, f.o.b. the nearest shipping point to Project site, within specified warranty period indicated below.

Warranty Period: 10 years from date of Substantial Completion.

1. PRODUCTS
   * + 1. MANUFACTURERS
          1. In other Part 2 articles where titles below introduce lists, the following requirements apply to product selection:

Available Manufacturers: Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, manufacturers specified.

* + - 1. GLASS PRODUCTS
         1. Annealed Float Glass: ASTM C 1036, Type I (transparent flat glass), Quality-Q3; of class indicated.

Ultra-Clear (Low-Iron) Float Glass: Class I (clear); with a minimum 91 percent visible light transmission and a minimum solar heat gain coefficient of 0.87.

Available Manufacturers

AFG Industries Inc.

Pilkington Building Products North America

PPG Industries, Inc.

Cardinal Glass Industries

Guardian Industries

Libbey-Owens-Ford Co. (LOF)

Viracon

* + - * 1. Heat-Treated Float Glass: ASTM C 1048; Type I (transparent flat glass); Quality-Q3; of class, kind, and condition indicated.

Provide Kind FT (fully tempered) float glass in place of annealed or Kind HS (heat-strengthened) float glass where safety glass is indicated.

* + - * 1. Pyrolytic-Coated Float Glass: ASTM C 1376, float glass with metallic-oxide coating applied by pyrolytic deposition process during initial manufacture, and complying with other requirements specified.
        2. Wired Glass: ASTM C 1036, Type II (patterned and wired flat glass), Class 1 (clear), Quality-Q-6; and of form and mesh pattern specified.
        3. Laminated Glass: ASTM C 1172, and complying with other requirements specified and with the following:

Interlayer: Polyvinyl butyral of thickness indicated with a proven record of no tendency to bubble, discolor, or lose physical and mechanical properties after laminating glass lites and installation.

For polyvinyl butyral interlayers, laminate lites in autoclave with heat plus pressure.

Laminating Process: Fabricate laminated glass to produce glass free of foreign substances and air or glass pockets.

* + - * 1. Insulating-Glass Units, General: Factory-assembled units consisting of sealed lites of glass separated by a dehydrated interspace, and complying with ASTM E 774 for Class CBA units and with requirements specified in this Article and in Part 2 "Insulating-Glass Units" Article.

Provide Kind FT (fully tempered) glass lites where safety glass is indicated.

Overall Unit Thickness and Thickness of Each Lite: Dimensions indicated for insulating-glass units are nominal and the overall thicknesses of units are measured perpendicularly from outer surfaces of glass lites at unit's edge.

Sealing System: Dual seal, with primary and secondary sealants as follows:

Manufacturer's standard sealants with continuous welded spacer bars.

* + - 1. GLAZING GASKETS
         1. Dense Compression Gaskets: Molded or extruded gaskets of material indicated below, complying with standards referenced with name of elastomer indicated below, and of profile and hardness required to maintain watertight seal:

Neoprene, ASTM C 864.

EPDM, ASTM C 864.

Silicone, ASTM C 1115.

Thermoplastic polyolefin rubber, ASTM C 1115.

* + - 1. GLAZING SEALANTS
         1. General: Provide products of type indicated, complying with the following requirements:

Compatibility: Select glazing sealants that are compatible with one another and with other materials they will contact, including glass products, seals of insulating-glass units, and glazing channel substrates, under conditions of service and application, as demonstrated by sealant manufacturer based on testing and field experience.

Suitability: Comply with sealant and glass manufacturers' written instructions for selecting glazing sealants suitable for applications indicated and for conditions existing at time of installation.

* + - * 1. Elastomeric Glazing Sealants: Comply with ASTM C 920 and other requirements indicated for each liquid-applied chemically curing sealant specified, including those referencing ASTM C 920 classifications for type, grade, class, and uses related to exposure and joint substrates.
      1. GLAZING TAPES
         1. Back-Bedding Mastic Glazing Tapes: Preformed, butyl-based elastomeric tape with a solids content of 100 percent; nonstaining and nonmigrating in contact with nonporous surfaces; with or without spacer rod as recommended in writing by tape and glass manufacturers for application indicated; packaged on rolls with a release paper backing; and complying with ASTM C 1281 and AAMA 800 for products indicated below:

AAMA 804.3 tape, where indicated.

AAMA 806.3 tape, for glazing applications in which tape is subject to continuous pressure.

AAMA 807.3 tape, for glazing applications in which tape is not subject to continuous pressure.

* + - * 1. Expanded Cellular Glazing Tapes: Closed-cell, PVC foam tapes; factory coated with adhesive on both surfaces; packaged on rolls with release liner protecting adhesive; and complying with AAMA 800 for the following types:

Type 1, for glazing applications in which tape acts as the primary sealant.

Type 2, for glazing applications in which tape is used in combination with a full bead of liquid sealant.

* + - 1. MISCELLANEOUS GLAZING MATERIALS
         1. General: Provide products of material, size, and shape complying with referenced glazing standard, requirements of manufacturers of glass and other glazing materials for application indicated, and with a proven record of compatibility with surfaces contacted in installation.
         2. Cleaners, Primers, and Sealers: Types recommended by sealant or gasket manufacturer.
         3. Setting Blocks: Elastomeric material with a Shore, Type A durometer hardness of 85, plus or minus 5.
         4. Spacers: Elastomeric blocks or continuous extrusions with a Shore, Type A durometer hardness required by glass manufacturer to maintain glass lites in place for installation indicated.
         5. Edge Blocks: Elastomeric material of hardness needed to limit glass lateral movement (side walking).
      2. FABRICATION OF GLAZING UNITS
         1. Fabricate glazing units in sizes required to glaze openings indicated for Project, with edge and face clearances, edge and surface conditions, and bite complying with written instructions of product manufacturer and referenced glazing publications, to comply with system performance requirements.
      3. INSULATING-GLASS UNITS
         1. Solar-Control Low-E Insulating-Glass Units

Available Products:

PPG Architectural Glass “Solarban” 60 or equal.

Overall Unit Thickness and Thickness of Each Lite: 25 and 6.0 mm.

Interspace Content: Argon.

Outdoor Lite: Class 2 tinted float glass.

Tint Color: “Bronze” by PPG Industries, Inc. with bronze anodized aluminum sash, or “Gray” by PPG Industries, Inc. with clear anodized aluminum sash.

Or as approved.

Indoor Lite: Class 1 clear float glass.

Low-E Coating: Pyrolytic on second surface.

Visible Light Transmittance: 35% minimum.

Winter Nighttime U-Factor: 0.35 maximum.

Summer Daytime U-Factor: 0.38 maximum.

Solar Heat Gain Coefficient: 0.40 maximum.

1. EXECUTION
   * + 1. EXAMINATION
          1. Examine framing glazing, with Installer present, for compliance with the following:

Manufacturing and installation tolerances, including those for size, squareness, and offsets at corners.

Presence and functioning of weep system.

Minimum required face or edge clearances.

Effective sealing between joints of glass-framing members.

* + - * 1. Proceed with installation only after unsatisfactory conditions have been corrected.
      1. PREPARATION
         1. Clean glazing channels and other framing members receiving glass immediately before glazing. Remove coatings not firmly bonded to substrates.
      2. GLAZING, GENERAL
         1. Comply with combined written instructions of manufacturers of glass, sealants, gaskets, and other glazing materials, unless more stringent requirements are indicated, including those in referenced glazing publications.
         2. Glazing channel dimensions, as indicated on Drawings, provide necessary bite on glass, minimum edge and face clearances, and adequate sealant thicknesses, with reasonable tolerances. Adjust as required by Project conditions during installation.
         3. Protect glass edges from damage during handling and installation. Remove damaged glass from Project site and legally dispose of off Project site. Damaged glass is glass with edge damage or other imperfections that, when installed, could weaken glass and impair performance and appearance.
         4. Apply primers to joint surfaces where required for adhesion of sealants, as determined by preconstruction sealant-substrate testing.
         5. Install setting blocks in sill rabbets, sized and located to comply with referenced glazing publications, unless otherwise required by glass manufacturer. Set blocks in thin course of compatible sealant suitable for heel bead.
         6. Do not exceed edge pressures stipulated by glass manufacturers for installing glass lites.
         7. Provide spacers for glass lites where length plus width is larger than 30 inches as follows:

Locate spacers directly opposite each other on both inside and outside faces of glass. Install correct size and spacing to preserve required face clearances, unless gaskets and glazing tapes are used that have demonstrated ability to maintain required face clearances and to comply with system performance requirements.

Provide 1/8-inch minimum bite of spacers on glass and use thickness equal to sealant width. With glazing tape, use thickness slightly less than final compressed thickness of tape.

* + - * 1. Provide edge blocking where indicated or needed to prevent glass lites from moving sideways in glazing channel, as recommended in writing by glass manufacturer and according to requirements in referenced glazing publications.
        2. Set glass lites in each series with uniform pattern, draw, bow, and similar characteristics.
        3. Where wedge-shaped gaskets are driven into one side of channel to pressurize sealant or gasket on opposite side, provide adequate anchorage so gasket cannot walk out when installation is subjected to movement.
        4. Square cut wedge-shaped gaskets at corners and install gaskets in a manner recommended by gasket manufacturer to prevent corners from pulling away; seal corner joints and butt joints with sealant recommended by gasket manufacturer.
      1. TAPE GLAZING
         1. Position tapes on fixed stops so that, when compressed by glass, their exposed edges are flush with or protrude slightly above sightline of stops.
         2. Install tapes continuously, but not necessarily in one continuous length. Do not stretch tapes to make them fit opening.
         3. Cover vertical framing joints by applying tapes to heads and sills first and then to jambs. Cover horizontal framing joints by applying tapes to jambs and then to heads and sills.
         4. Place joints in tapes at corners of opening with adjoining lengths butted together, not lapped. Seal joints in tapes with compatible sealant approved by tape manufacturer.
         5. Do not remove release paper from tape until just before each glazing unit is installed.
      2. GASKET GLAZING (DRY)
         1. Fabricate compression gaskets in lengths recommended by gasket manufacturer to fit openings exactly, with allowance for stretch during installation.
         2. Insert soft compression gasket between glass and frame or fixed stop so it is securely in place with joints miter cut and bonded together at corners.
         3. Center glass lites in openings on setting blocks and press firmly against soft compression gasket by inserting dense compression gaskets formed and installed to lock in place against faces of removable stops. Start gasket applications at corners and work toward centers of openings. Compress gaskets to produce a weathertight seal without developing bending stresses in glass. Seal gasket joints with sealant recommended by gasket manufacturer.
         4. Install gaskets so they protrude past face of glazing stops.
      3. SEALANT GLAZING (WET)
         1. Install continuous spacers, or spacers combined with cylindrical sealant backing, between glass lites and glazing stops to maintain glass face clearances and to prevent sealant from extruding into glass channel and blocking weep systems until sealants cure. Secure spacers or spacers and backings in place and in position to control depth of installed sealant relative to edge clearance for optimum sealant performance.
         2. Force sealants into glazing channels to eliminate voids and to ensure complete wetting or bond of sealant to glass and channel surfaces.
         3. Tool exposed surfaces of sealants to provide a substantial wash away from glass.
      4. CLEANING AND PROTECTION
         1. Protect exterior glass from damage immediately after installation by attaching crossed streamers to framing held away from glass. Do not apply markers to glass surface. Remove nonpermanent labels, and clean surfaces.
         2. Protect glass from contact with contaminating substances resulting from construction operations, including weld splatter. If, despite such protection, contaminating substances do come into contact with glass, remove substances immediately as recommended by glass manufacturer.
         3. Examine glass surfaces adjacent to or below exterior concrete and other masonry surfaces at frequent intervals during construction, but not less than once a month, for buildup of dirt, scum, alkaline deposits, or stains; remove as recommended in writing by glass manufacturer.
         4. Remove and replace glass that is broken, chipped, cracked, or abraded or that is damaged from natural causes, accidents, and vandalism, during construction period.
         5. Wash glass on both exposed surfaces in each area of Project not more than four days before date scheduled for inspections that establish date of Substantial Completion. Wash glass as recommended in writing by glass manufacturer.

END OF SECTION 088000